## heat and kwh calcs
Directions
Fill in bright green boxes to figure out $ and CO2 savings
Doesn't count water savings from showerheads, etc.
CFM Before | CFM After | CFM % Change | CFM Change | # ofProg. Thermostat Installed? |  | CFLs Installed | # of Computer Pref. Changed to Hibernate | gallons of water saved (from water worksheet) | heat savings from water sheet |  | cost of therm | 1.41
3900 | 2900 | 25.64% | 1000 | 1 |  | 21 | 0 | 5803.5 | 14.4102 |  | cost of kwh | 0.19
| totals | # of therms saved annually | 70 | 40 | # of kWh saved annually | 630 | 0 |  | 14.4102 | per year |  | per decade |  | metric tonnes
|  | co2 | 910 | 520 |  | 806.4 | 0 |  | 187.3326 | 2423.7326 | lbs co2 | 24237.326 | Totals | 10.997
|  | money | 98.7 | 56.4 |  | 119.7 | 0 | 87.0525 | 20.3184 | 382.1709 | dollars saved | 3821.7088 | Totals
Assumptions:
lowering CFM by 100 = @ 7 therms per year saved.
installing a programmable thermostat and programming it to have regular setbacks = 5% heat savings or 40 therms since average home in this area uses 800 therms.
A CFL on average save at least 30 kWh per year in installed in a home with a lot of other lights. In a small apartment you can get more savings.
Computers system preferences changed from a screensaver to having the computer hibernate when unused is good for 100 kWh savings per year
1 kWh = 1.28 lbs co2
1 therm = 13 lbs co2
1 Kwh costs .19 cents
1 therm costs $1.41
Assumptions come from Michael Blasnik or national figures.
CFM stands for Cubic Feet per Minute airloss as measured by a blower door test before and after the work. CFM airloss shows how drafty a building is.

## water calculations
Directions
Fill in green boxes to figure out $ savings from low-flow water measures.
| Gallons per minute (GPM) of old fixture | GPM of new fixture | Minutes per shower | # of daily showers | # of showerheads | gallons saved per minute | Gallons saved per day | Per year | Per decade | Yearly Saved therms | Yearly saved kWh from saved water processing | Annual CO2 from saved therms and kwh | CO2 per decade
showerhead | 2 | 1.5 | 6 | 2 | 2 | 0.5 | 12 | 4380 | 43800 | 12.264 | 8.76 | 170.6448 | 1706.448
[8 empty] | 65.7 | 657 | 17.2922 | 1.6644
|  |  | minutes used daily | # of aerators
faucet aerator | 2.2 | 1.5 | 3 | 1 |  | 0.7 | 2.1 | 766.5 | 7665 | 2.1462 | 1.533 | 29.8628 | 298.6284
[8 empty] | 11.4975 | 114.975 | 3.0261 | 0.29127
| gallons per flush |  | flushes daily | # of tank banks |  | saved per flush | per day
Toilet tank bank | 1.6 | 1.3 | 3 | 2 |  | 0.3 | 1.8 | 657 | 6570 |  | 1.314 | 1.6819 | 16.8192
[8 empty] | 9.855 | 98.55 |  | 0.24966
|  |  | minutes used daily | # of aerators
kitchen aerator | 2.5 | 2.5 | 5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 5803.5 | 58035 | gallons |  | 202.1896 | 2021.8956
[7 empty] | annual | per decade
|  |  |  | savings in sewer & water cost |  |  | 87.0525 | 870.525
| savings in therms |  |  |  |  | 14.4102 | 20.3184 | 203.1838
Assumptions |  |  |  | savings is kWh |  | 11.607 | 2.2053 | 22.0533 |  | I
(assumption of 2 adults, no kids per home on average) | [6 empty] | 109.5762 | 1095.7621 | total $ savings
Cambridge average # of residents per household = 2.03
Water takes 1.5 kwh to clean at Fresh Pond water facility per 750 gallons. | [5 empty] | Price of water and sewer per gallon
Hot water takes about 10 therms to heat 3,500 gallons | [5 empty] | 0.015
price per therm
[6 empty] | 1.41 | Put in correct prices for your municipality.
price per kWh
0.19